## GAP Analysis Chart
PLANT LEVEL ENERGY GAP ANALYSIS
Company Name: | OSBUK |  | PLANT CONTACT INFORMATION
Plant | BC Plant 1 |  | Name
Product | Aluminum Castings |  | Address
Select Industry Type: | 331 PRIMARY METALS |  | City/State
Plant's Total Energy Consumption (MMBtu/Year): | 3000000 |  | Phone
Pumps |  |  | Click on Each System Type to Enter Your Energy Estimations
Select Industry Type | 331 PRIMARY METALS |  | Select Industry Type | 331 PRIMARY METALS
System Type | % Energy Savings (Calculated) |  | System Type | % Energy Savings (Calculated)
Process Heating | 3.057% |  | Process Heating | 5.471%
Steam | 5% |  | Steam | 6.829%
Compressed Air | 4.5% |  | Compressed Air | 2.017%
Fans | 4.123% |  | Fans | 3.983%
Pumps | 2% |  | Pumps | 0.5232%
Process Cooling and Refrigeration | 0.5549% |  | Process Cooling and Refrigeration | 1.829%
Other | 6.4% |  | Other | 2.669%
Total | 25.63% |  | Total | 23.32%
GAP Analysis using QuickPEP Results:
System Types | Base Values | Element Values | Label Spaces
Baseline |  | 100%
Process Heating | 96.94% | 3.057%
Steam | 91.94% | 5% | 1%
Compressed Air | 87.44% | 4.5% | 1%
Fans | 83.32% | 4.123% | 1%
Pumps | 81.32% | 2% | 1%
Process Cooling and Refrigeration | 80.77% | 0.5549% | 1%
Other | 74.45% | 6.32% | 1%
10 Year Goal |  | 75% | 1%
Goal |  | 25%
GAP Analysis using ESA Results:
System Types | Base Values | Element Values | Label Spaces
Baseline |  | 100%
Process Heating | 94.53% | 5.471%
Steam | 87.7% | 6.829% | 1%
Compressed Air | 85.68% | 2.017% | 1%
Fans | 81.7% | 3.983% | 1%
Pumps | 81.18% | 0.5232% | 1%
Process Cooling and Refrigeration | 79.35% | 1.829% | 1%
Other | 76.68% | 2.669% | 1%
10 Year Goal |  | 75% | 1%
Goal |  | 25%
Fuel Types
Natural Gas
Electricity
Coal
Heavy Fuel Oil
Light Fuel Oil
Other Solid Fuels
Other Liquid Fuels
Other Gas Fuels
Process Heating Energy Actions Items
Steam Energy Actions Items
Compressed Air Energy Actions Items
Fans Energy Actions Items
Pumps Energy Actions Items
Other Energy Actions Items (HVAC - Lighting,...)
CLICK Here to Enter e-PEP Results:
Process Cooling & Refrigeration Energy Actions Items

## QuickPEP
Back To GAP ANALYSIS
ALL SYSTEMS High Level Energy Saving Potential - (FROM QUICKPEP)
System | From QuickPEP Result Sheet - ENTER Potential Energy Savings/Year
| $ | kWh | MMBtu
Process Heating | 360000 | 500000 | 90000
Steam | 600000 | 0 | 150000
Compressed Air | 540000 | 0 | 135000
Fans | 492000 | 200000 | 123000
Pumps | 240000 | 0 | 60000
Other (HVAC, Lighting, …) | 768000 | 0 | 192000
Process Cooling and Refrigeration | 768000 | 4000000 | 3000
Total Energy Savings | 3000000 | 4700000 | 750000
Plants Total Energy Consumption (MMBtu/Year) | 3000000
% Energy Savings Potential - ALL ENERGY SYSTEMS | 25.53%

## Process Heating
Back To GAP ANALYSIS
PROCESS HEATING ENERGY SAVINGS ACTION ITEMS - SUMMARY INFORMATION | [8 empty] | Implementation Followup
# | Year Identified | Who Identified | ENTER Your Energy Action Item | ENTER Energy Savings/Year |  |  |  |  | Responsible | Due Date | Status | Issues
|  |  |  | $ | kWh | MMBtu | Fuel Type | Payback (Years)
PH1 | 2008 | DOE Expert | Install Blowdown Energy Recovery | 180000 | 0 | 50000 | Natural Gas | 3 |  |  | In Planning
PH2 | 2009 | DOE Expert | Repair Dyneon Condensate Pumps | 55000 | 0 | 30000 | Natural Gas | 1 |  |  | Implemented
PH3 | 2009 | DOE Expert | Oven Steam Trap Replacement | 80000 | 0 | 20000 | Natural Gas | 2 |  |  | In Planning
PH4 | 2009 | Internal Energy Team | Oven Optimization | 10000 | 0 | 1250 | Natural Gas | 4 |  |  | In Progress
PH5 | 2009 | Internal Energy Team | Repair observed insulation issues | 3000 | 0 | 375 | Natural Gas | 5 |  |  | Implemented
PH6 | 2010 | Private Expert | Repair failed steam traps in Building 4 | 30000 | 0 | 3750 | Natural Gas | 2 |  |  | In Planning
PH7 | 2010 | Private Expert | Implement World-Class Trap Management | 150000 | 0 | 18750 | Natural Gas | 1 |  |  | Implemented
PH8 | 2011 | Private Expert | XX |  | 0 | 40000
PH9 |  |  |  |  | 0
PH10 |  |  |  |  | 0
|  |  | Total Energy Savings | 508000 | 0 | 164125
|  |  | Plants Total Energy Consumption (MMBtu/Year) | 3000000
|  |  | % Source Energy Savings Potential - Process Heating | 5.471%
Implemented
In Progress
In Planning

## Steam
Back To GAP ANALYSIS
STEAM ENERGY SAVINGS ACTION ITEMS - SUMMARY INFORMATION | [9 empty] | Implementation Followup
# | Year Identified | Who Identified | ENTER Your Energy Action Item |  | ENTER Energy Savings/Year |  |  |  |  | Responsible | Due Date | Status | Issues
[5 empty] | $ | kWh | MMBtu | Fuel Type | Payback (Years)
ST1 | 2009 | DOE Expert | Add or Modify Operation of Condensing Steam Turbine | 1.8 - Add or Modify Operation of Condensing Steam Turbine | 870000 | 0 | 40000 | Natural Gas | 3 |  |  | In Planning
ST2 | 2009 | DOE Expert | Reduce Steam Demand by Changing the Process Steam Requirements | 1.1 - Reduce Steam Demand by Changing the Process Steam Requirements | 606322 | 0 | 30000 | Heavy Fuel Oil | 1 |  |  | Implemented
ST3 | 2009 | DOE Expert | Add or Modify Operation of Backpressure Steam Turbine | 1.7 - Add or Modify Operation of Backpressure Steam Turbine | 200000 | 0 | 20000 | Heavy Fuel Oil | 2 |  |  | In Planning
ST4 | 2009 | Internal Energy Team | Multiple Boiler Optimization | 1.20 - Multiple Boiler Optimization | 517829 | 0 | 51782.9 | Natural Gas | 4 |  |  | In Progress
ST5 | 2010 | Internal Energy Team | Feed water Heat Recovery - General | 1.18 – Feed water Heat Recovery - General | 370848 | 0 | 37084.8 | Natural Gas | 5 |  |  | Implemented
ST6 | 2010 | Private Expert | Modify the Medium Pressure Condensate Flash System | 1.12 - Modify the Medium Pressure Condensate Flash System | 260012 | 0 | 26001.2 | Natural Gas | 2 |  |  | In Planning
ST7 | [11 empty] | Implemented
ST8 | [5 empty] | 0
ST9 | [5 empty] | 0
ST10 | [5 empty] | 0
|  |  | Total Energy Savings |  | 2825011 | 0 | 204868.9
|  |  | Plants Total Energy Consumption (MMBtu/Year) |  | 3000000
|  |  | % Source Energy Savings Potential - Steam |  | 6.829%
Implemented
In Progress
In Planning

## Compressed Air
Back To GAP ANALYSIS
COMPRESSED AIR ENERGY SAVINGS ACTION ITEMS - SUMMARY INFORMATION | [9 empty] | Implementation Followup
# | Year Identified | Who Identified | ENTER Your Energy Action Item |  | ENTER Energy Savings/Year |  |  |  |  | Responsible | Due Date | Status | Issues
[5 empty] | $ | kWh | MMBtu | Fuel Type | Payback (Years)
CA1 | 2009 | DOE Expert | Aspirating | 3.1 - Aspirating | 193700 | 0 | 25000 | Electricity | 3 |  |  | In Planning
CA2 | 2009 | DOE Expert | Open Blowing | 3.8 - Open Blowing | 66380.6111 | 0 | 15000 | Electricity | 1 |  |  | Implemented
CA3 | 2010 | DOE Expert | Dense Phase Transport | 3.5 - Dense Phase Transport | 61935 | 0 | 6193.5 | Electricity | 2 |  |  | In Planning
CA4 | 2009 | Internal Energy Team | Multiple Compressor Control (install / improve) | 1.6 - Multiple Compressor Control (install / improve) | 50122.0606 | 0 | 5012.2061 | Electricity | 4 |  |  | In Progress
CA5 | 2009 | Internal Energy Team | Improve End Use Efficiency | 1.2 - Improve End Use Efficiency | 49995.9375 | 0 | 4999.5938 | Electricity | 5 |  |  | Implemented
CA6 | 2010 | Private Expert | Reduce Air Leaks | 1.1 - Reduce Air Leaks | 42935.2692 | 0 | 4293.5269 | Electricity | 2 |  |  | In Planning
CA7 | [5 empty] | 0 |  |  | 1 |  |  | Implemented
CA8 | [5 empty] | 0
CA9 | [5 empty] | 0
CA10 | [5 empty] | 0
|  |  | Total Energy Savings |  | 465068.8784 | 0 | 60498.8267
|  |  | Plants Total Energy Consumption (MMBtu/Year) |  | 3000000
|  |  | % Source Energy Savings Potential - Compressed Air |  | 2.017%
Implemented
In Progress
In Planning

## Fans
Back To GAP ANALYSIS
FANS ENERGY SAVINGS ACTION ITEMS - SUMMARY INFORMATION | [9 empty] | Implementation Follow up
# | Year Identified | Who Identified | ENTER Your Energy Action Item |  | ENTER Energy Savings/Year |  |  |  |  | Responsible | Due Date | Status | Issues
[5 empty] | $ | kWh | MMBtu | Fuel Type | Payback (Years)
F1 | 2009 | DOE Expert | Recover heat from exhaust air | 1.15 - Recover heat from exhaust air | 500000 | 0 | 50000 | Electricity | 3 |  |  | In Planning
F2 | 2009 | DOE Expert | Install new appropriately sized fan | 1.7 - Install new appropriately sized fan | 400000 | 0 | 40000 | Electricity | 1 |  |  | Implemented
F3 | 2009 | DOE Expert | Install new appropriately sized impeller | 1.6 - Install new appropriately sized impeller | 110000 | 0 | 11000 | Electricity | 2 |  |  | In Planning
F4 | 2009 | Internal Energy Team | Shut off unneeded fans | 1.13 - Shut off unneeded fans | 80000 | 0 | 8000 | Electricity | 4 |  |  | In Progress
F5 | 2010 | Internal Energy Team | Rearrange ductwork at fan inlet or discharge | 1.9 - Rearrange ductwork at fan inlet or discharge | 60000 | 0 | 6000 | Electricity | 5 |  |  | Implemented
F6 | 2010 | Private Expert | Use Variable Speed Drive | 1.1 - Use Variable Speed Drive | 45000 | 0 | 4500 | Electricity | 2 |  |  | In Planning
F7 | [5 empty] | 0 |  | Electricity |  |  |  | Implemented
F8 | [5 empty] | 0
F9 | [5 empty] | 0
F10 | [5 empty] | 0
|  |  | Total Energy Savings |  | 1195000 | 0 | 119500
|  |  | Plants Total Energy Consumption (MMBtu/Year) |  | 3000000
|  |  | % Source Energy Savings Potential - Fans |  | 3.983%
Implemented
In Progress
In Planning

## Pumps
Back To GAP ANALYSIS
PUMPS ENERGY SAVINGS ACTION ITEMS - SUMMARY INFORMATION | [9 empty] | Implementation Follow up
# | Year Identified | Who Identified | ENTER Your Energy Action Item |  | ENTER Energy Savings/Year |  |  |  |  | Responsible | Due Date | Status | Issues
[5 empty] | $ | kWh | MMBtu | Fuel Type | Payback (Years)
P1 | 2009 | DOE Expert | Excessive valve friction loss all of the time | 1.2 - Excessive valve friction loss all of the time | 72750.8913 | 1000000 |  | Electricity | 3 |  |  | In Planning
P2 | 2009 | DOE Expert | Excessive valve friction loss part of the time | 1.1 - Excessive valve friction loss part of the time | 70566.1176 | 900000 |  | Electricity | 1 |  |  | Implemented
P3 | 2009 | DOE Expert | System specs exceed system requirements | 1.11 - System specs exceed system requirements | 66630 | 800000 |  | Electricity | 2 |  |  | In Planning
P4 | 2010 | Internal Energy Team | Degraded equipment performance | 1.8 - Degraded equipment performance | 53128.5714 | 400000 |  | Electricity | 4 |  |  | In Progress
P5 | 2009 | Internal Energy Team | Change time of use | 1.12 - Change time of use | 51528.2 | 300000 |  | Electricity | 5 |  |  | Implemented
P6 | 2010 | Private Expert | Excessive recirculation | 1.3 - Excessive recirculation | 49480.5 | 200000 |  | Electricity | 2 |  |  | In Planning
P7 | 2010 | Private Expert | More flow than required to meet system requirements | 1.5 - More flow than required to meet system requirements | 47913.6667 | 1000000 |  | Electricity | 1 |  |  | Implemented
P8 | [5 empty] | 0
P9 | [5 empty] | 0
P10 | [5 empty] | 0
|  |  | Total Energy Savings |  | 411997.947 | 4600000 | 0
|  |  | Plants Total Energy Consumption (MMBtu/Year) |  | 3000000 |  |  |  | 3412 BTUs = 1 kWh
|  |  | % Source Energy Savings Potential - Pumps |  | 0.5232%
Implemented
In Progress
In Planning

## ESAMS DB (hidden)
NAICS (All Plants) | Compressed Air | Fans | Process Heating | Pumps | Steam | Total
212 MINING | 1.771% | 5.581% | 5.586% | 0.03816% | 1.021% | 14%
311 FOOD | 2.119% | NA | 6.042% | 0.9746% | 5.872% | 15.01%
312 BEVERAGE AND TOBACCO PRODUCTS | NA | NA | NA | NA | 0.6648% | 0.6648%
313 TEXTILE MILLS | NA | NA | 2.507% | 0.1876% | 1.946% | 4.64%
314 TEXTILE PRODUCT MILLS | NA | NA | NA | NA | 12.22% | 12.22%
315 APPAREL MANUFACTURING | NA | NA | NA | NA | 11.57% | 11.57%
321 WOOD PRODUCTS | 1.402% | 6.805% | 1.88% | NA | NA | 10.09%
322 PAPER MANUFACTURING | 0.5067% | 0.2669% | 3.644% | 0.7142% | 4.524% | 9.656%
323 PRINTING AND RELATED SUPPORT ACTIVITIES | 4.454% | 0.09925% | 0.229% | NA | NA | 4.782%
324 PETROLEUM AND COAL PRODUCTS | 1.565% | NA | 8.006% | NA | 2.542% | 12.11%
325 CHEMICAL MANUFACTURING | 2.3% | NA | 6.744% | 2.477% | 5.958% | 17.48%
326 PLASTICS AND RUBBER PRODUCTS | 3.627% | NA | 9.872% | 1.425% | 3.433% | 18.36%
327 NON-METALLIC MINERAL PRODUCTS | 1.44% | 0.9147% | 8.403% | 0.2821% | NA | 11.04%
331 PRIMARY METALS | 0.9005% | 2.76% | 6.948% | 0.2928% | 2.797% | 13.7%
332 FABRICATED METAL PRODUCTS | 0.2229% | 0.6488% | 4.057% | 0.3477% | 2.994% | 8.271%
333 MACHINERY MANUFACTURING | 1.501% | 15.93% | 10.01% | NA | 5.625% | 33.07%
334 COMPUTER AND ELECTRONIC PRODUCTS | 0.3933% | 0.7666% | 7.643% | NA | 0.5618% | 9.365%
335 ELECTRICAL EQUIPMENT, APPLIANCES, COMPONENTS | NA | NA | 3.012% | NA | 0.8509% | 3.863%
336 TRANSPORTATION EQUIPMENT | 2.902% | 0.3842% | 7.398% | 1.162% | 3.21% | 15.06%
337 FURNITURE AND RELATED | NA | NA | NA | NA | NA | NA
339 MISCELLANEOUS MANUFACTURING | NA | 0.9613% | NA | NA | 1.776% | 2.737%
541 PROFESSIONAL, SCIENTIFIC & TECHNICAL SERVICES | NA | NA | NA | 0.05644% | NA | 0.05644%
OTHER | NA | NA | NA | NA | NA | NA

## Process Cooling & Refrigeration
Back To GAP ANALYSIS
Process Cooling & Refrigeration ENERGY SAVINGS ACTION ITEMS - SUMMARY INFORMATION | [9 empty] | Implementation Follow up
# | Year Identified | Who Identified | ENTER Your Energy Action Item |  | ENTER Energy Savings/Year |  |  |  |  | Responsible | Due Date | Status | Issues
[5 empty] | $ | kWh | MMBtu | Fuel Type | Payback (Years)
PC1 | 2009 | Internal Energy Team | Test the Refrigerant Pressure | 1.2 - Excessive valve friction loss all of the time | 150000 | 3000000 |  | Electricity | 3 |  |  | Implemented
PC2 | 2009 | Internal Energy Team | Improve Cooling tower performance | 1.1 - Excessive valve friction loss part of the time | 600000 | 12000000 |  | Electricity | 1 |  |  | In Progress
PC3 | 2009 | Internal Energy Team | Use high efficient heat exchanger | 1.11 - System specs exceed system requirements | 20000 | 400000 |  | Electricity | 2 |  |  | In Planning
PC4 | 2010 | Internal Energy Team | Retrofit cooling loop pump |  | 10000 | 200000 |  | Electricity | 4 |  |  | In Progress
PC5 | 2009 | Internal Energy Team | Change time of use | 1.12 - Change time of use | 23000 | 460000 |  | Electricity | 5 |  |  | In Planning
PC6 | 2010 | Private Expert | Shutdown when not in use | 1.3 - Excessive recirculation | 1000 | 20000 |  | Electricity | 2 |  |  | In Planning
PC7 |  |  |  | 1.5 - More flow than required to meet system requirements | [7 empty] | Implemented
PC8 | [5 empty] | 0
PC9 | [5 empty] | 0
P1C0 | [5 empty] | 0
|  |  | Total Energy Savings |  | 804000 | 16080000 | 0
|  |  | Plants Total Energy Consumption (MMBtu/Year) |  | 3000000 |  |  |  | 3412 BTUs = 1 kWh
|  |  | % Source Energy Savings Potential - Process Cooling & Refrigeration |  | 1.829%
Implemented
In Progress
In Planning

## Others (HVAC - Lighting - ...)
Back To GAP ANALYSIS
Others- ENERGY SAVINGS ACTION ITEMS - SUMMARY INFORMATION | [9 empty] | Implementation Follow up
# | Year Identified | Who Identified | ENTER Your Energy Action Item |  | ENTER Energy Savings/Year |  |  |  |  | Responsible | Due Date | Status | Issues
[5 empty] | $ | kWh | MMBtu | Fuel Type | Payback (Years)
O1 | 2009 | Internal Energy Team | Replace HIDS with T8 Flourescent Lights | 1.2 - Excessive valve friction loss all of the time | 72750.8913 | 2000 |  | Electricity | 3 |  |  | Implemented
O2 | 2009 | Internal Energy Team | Install Occupancy Sensors in Plant Area …. | 1.1 - Excessive valve friction loss part of the time | 70566.1176 | 1000 |  | Electricity | 1 |  |  | Implemented
O3 | 2009 | Internal Energy Team | Install a 7 Day Programmable Timer to turn OFF roof top AC units | 1.11 - System specs exceed system requirements | 66630 | 7000 | 20000 | Electricity | 2 |  |  | Implemented
O4 | 2010 | Internal Energy Team | Shutdown Effectiveness | 1.8 - Degraded equipment performance | 53128.5714 | 9000 | 60000 | Electricity | 4 |  |  | In Progress
O5 | 2009 | Internal Energy Team | Change time of use | 1.12 - Change time of use | 51528.2 | 0 |  | Electricity | 5 |  |  | Implemented
O6 | 2010 | Private Expert | Use High Efficient Motors in Equipment A in Location Z |  | 49480.5 | 0 |  | Electricity | 2 |  |  | In Planning
O7 | 2010 | Private Expert | Use Adjustable Speed Drive in Equipment X in Location Y |  | 47913.6667 | 0 |  | Electricity | 1 |  |  | Implemented
O8 | [5 empty] | 0
O9 | [5 empty] | 0
O10 | [5 empty] | 0
|  |  | Total Energy Savings |  | 411997.947 | 19000 | 80000
|  |  | Plants Total Energy Consumption (MMBtu/Year) |  | 3000000
|  |  | % Source Energy Savings Potential - Others |  | 2.669%
Implemented
In Progress
In Planning